## Botanical Analysis
ModusTestID | Tissue Item | Extraction | Method | Common Name These are examples only. | Units of Expression | Optional Expression 1 | Optional Expression 2 | Optional Expression 3
B-AL.02.04 | Aluminum | Acid Digest |  | Al | ppm | mg/kg
B-AL.05.04 | Aluminum | Wet Ash | ICP-AES | Al | % | g/kg
B-AL.11.04 | Aluminum | Perchloric Acid Digest | ICP-AES, AAS | Al | ppm | mg/kg |  |  | Example
B-AL.12.04 | Aluminum | Nitric Acid Digest | ICP-AES, AAS | Al | ppm | mg/kg | % |  | X-XX.XX.XX-XX
B-AL.13.04 | Aluminum | Peroxide Digest | ICP-AES, AAS | Al | ppm | mg/kg
B-AL.15.04 | Aluminum | Hydraulic Sap | ICP-AES, AAS | Al | ppm |  |  |  | B-04.20.01-10
B-AS.10.04 | Arsenic | MW Digest | ICP-AES | As | ppm | mg/kg
B-AS.10.06 | Arsenic | MW Digest | ICP-MS | As | ppm | mg/kg |  |  | Sample Type-
B-AS.11.04 | Arsenic | Perchloric Acid Digest | ICP-AES, AAS | As | ppm | mg/kg |  |  | B(Botanical)
B-ASH.03 | Ash | Combustion | ICP-AES, AAS | Ash | % | mg/kg
B-B.02.04 | Boron | Acid Digest | ICP-AES, AAS | B | ppm | mg/kg |  |  | 1. Hyphen follows the sample type, what follows in the element and meta data
B-B.04.01 | Boron | Dry Ash | Spectrophotometric | B | ppm | mg/kg |  |  | 2. Points separate the detail about the element, extraction, and extraction modifiers
B-B.04.04 | Boron | Dry Ash | ICP-AES, AAS | B | ppm | mg/kg | % |  | 3. Measurement follows a hyphen. This allows the numbering to include the measurement and distinguish it from the modifier
B-B.05.04 | Boron | Wet Ash | ICP-AES, AAS | B | ppm | mg/kg
B-B.10.04 | Boron | MW Digest | ICP-AES, AAS | B | ppm | mg/kg
B-B.11.04 | Boron | Perchloric Acid Digest | ICP-AES, AAS | B | ppm | mg/kg
B-B.12.04 | Boron | Nitric Acid Digest | ICP-AES, AAS | B | ppm | mg/kg |  |  | Extraction | Analysis Method
B-B.13.04 | Boron | Peroxide Digest | ICP-AES, AAS | B | ppm | mg/kg |  |  | 00 (= Not Specified) | 00 (= Not Specified)
B-B.15.04 | Boron | Hydraulic Sap | ICP-AES, AAS | B | ppm |  |  |  | 01 (= 2% acetic Acid) | 01 (= Spectrophotometric)
B-BA.10.04 | Barium | MW Digest | ICP-AES | Ba | ppm | mg/kg |  |  | 02 (= acid digest) | 02 (= ISE)
B-BA.10.06 | Barium | MW Digest | ICP-MS | Ba | ppm | mg/kg | % |  | 03 (= Combustion) | 03 (= Turbidmetric)
B-CA.02.04 | Calcium | Acid Digest | ICP-AES, AAS | Ca | ppm | mg/kg |  |  | 04 (= Dry Ash) | 04 (= ICP-AES or AAS)
B-CA.04.04 | Calcium | Dry Ash | ICP-AES, AAS | Ca | % | g/kg |  |  | 05 (= Wet Ash) | 05 (= Chloridometer)
B-CA.05.04 | Calcium | Wet Ash | ICP-AES, AAS | Ca | % | g/kg |  |  | 06 (= 105C Drying) | 06 (= ICP-MS)
B-CA.10.04 | Calcium | MW Digest | ICP-AES, AAS | Ca | % |  |  |  | 07 (= KCl) | 07 (= ion Chromatography
B-CA.11.04 | Calcium | Perchloric Acid Digest | ICP-AES, AAS | Ca | ppm | mg/kg |  |  | 08 (= Steam distillation) | 08 (= Diffusion Conductivity)
B-CA.12.04 | Calcium | Nitric Acid Digest | ICP-AES, AAS | Ca | ppm | mg/kg |  |  | 09 (= Water) | 09 (= NIR)
B-CA.13.04 | Calcium | Peroxide Digest | ICP-AES, AAS | Ca | ppm | mg/kg |  |  | 10 (= Microwave Acid Digest) | 10 (= Cadmium Reduction)
B-CA.15.04 | Calcium | Hydraulic Sap | ICP-AES, AAS | Ca | ppm |  | % |  | 11 (= Perchloric Acid Digest) | 11 (= Titration)
B-CD.10.04 | Cadmium | MW Digest | ICP-AES | Cd | ppm | mg/kg |  |  | 12 (= Nitric Acid Digest) | 12 (= Conductivity)
B-CD.10.06 | Cadmium | MW Digest | ICP-MS | Cd | ppm | mg/kg |  |  | 13 (= Peroxide Digest) | 13 (= Calculated)
B-CL.01.01 | Chloride | 2 % Acetic Acid | Spectrophotometric Hg cyanide | Cl | % | g/kg |  |  | 14 (=Sodium Hydroxide) | 14 (=Gravimetric)
B-CL.01.04 | Chloride | 2 % Acetic Acid | ICP-AES | Cl | % | g/kg |  |  | 15 (=Hydraulic Sap) | 15 (=Chemometrics)
B-CL.01.05 | Chloride | 2 % Acetic Acid | Chloridometer | Cl | % | g/kg |  |  | 16 (=Sulfuric Acid)
B-CL.09.01 | Chloride | Water | Spectrophotometric | Cl | % | mg/kg |  |  | 17 (=Water (ISE Buffer Solution))
B-CL.09.02 | Chloride | Water | ISE | Cl | ppm | mg/kg |  |  | 18 (=AgNO3)
B-CL.11.04 | Chloride | Perchloric Acid Digest | ICP-AES, AAS | Cl | ppm | mg/kg |  |  | 19 (=NIR)
B-CL.12.04 | Chloride | Nitric Acid Digest | ICP-AES, AAS | Cl | ppm | mg/kg
B-CL.13.04 | Chloride | Peroxide Digest | ICP-AES, AAS | Cl | ppm | mg/kg
B-CL.14.11 | Chloride | Sodium Hydroxide | Titration | Cl | % | ppm | %
B-CL.15.04 | Chloride | Hydraulic Sap | ICP-AES, AAS | Cl | ppm
B-CO.10.04 | Cobalt | MW Digest | ICP-AES | Co | ppm | mg/kg
B-CO.10.06 | Cobalt | MW Digest | ICP-MS | Co | ppm | mg/kg
B-CR.10.04 | Chromium | MW Digest | ICP-AES | Cr | ppm | mg/kg
B-CR.10.06 | Chromium | MW Digest | ICP-MS | Cr | ppm | mg/kg
B-CR.11.04 | Chromium | Perchloric Acid Digest | ICP-AES, AAS | Cr | ppm | mg/kg
B-CU.02.04 | Copper | Acid Digest | ICP-AES, AAS | Cu | ppm | mg/kg | %
B-CU.04.04 | Copper | Dry Ash | ICP-AES, AAS | Cu | ppm | mg/kg
B-CU.05.04 | Copper | Wet Ash | ICP-AES, AAS | Cu | ppm | mg/kg
B-CU.10.04 | Copper | MW Digest | ICP-AES, AAS | Cu | ppm | mg/kg
B-CU.11.04 | Copper | Perchloric Acid Digest | ICP-AES, AAS | Cu | ppm | mg/kg
B-CU.12.04 | Copper | Nitric Acid Digest | ICP-AES, AAS | Cu | ppm | mg/kg
B-CU.13.04 | Copper | Peroxide Digest | ICP-AES, AAS | Cu | ppm | mg/kg
B-CU.15.04 | Copper | Hydraulic Sap | ICP-AES, AAS | Cu | ppm |  | %
B-DM.10.00 | Dry Matter | 105 C Drying |  | DM | % | g/kg | %
B-EC.15.12 | Electrical Conductivity | Hydraulic Sap | Conductivity | EC | mS/cm
B-FE.02.04 | Iron | Acid Digest | ICP-AES, AAS | Fe | ppm | mg/kg
B-FE.04.04 | Iron | Dry Ash | ICP-AES, AAS | Fe | ppm | mg/kg
B-FE.05.04 | Iron | Wet Ash | ICP-AES, AAS | Fe | ppm | mg/kg
B-FE.11.04 | Iron | Perchloric Acid Digest | ICP-AES, AAS | Fe | ppm | mg/kg | %
B-FE.12.04 | Iron | Nitric Acid Digest | ICP-AES, AAS | Fe | ppm | mg/kg | %
B-FE.13.04 | Iron | Peroxide Digest | ICP-AES, AAS | Fe | ppm | mg/kg
B-FE.15.04 | Iron | Hydraulic Sap | ICP-AES, AAS | Fe | ppm
B-HG.10.04 | Mercury | MW Digest | ICP-AES | Hg | ppm | mg/kg
B-HG.10.06 | Mercury | MW Digest | ICP-MS | Hg | ppm | mg/kg
B-K:CA.15.13 | K:Ca Ratio | Hydraulic Sap | Calculated | K:Ca | None
B-K.01.04 | Potassium | 2 % Acetic Acid | ICP-AES, AAS | K | % | mg/kg | %
B-K.02.04 | Potassium | Acid Digest | ICP-AES, AAS | K | ppm | mg/kg
B-K.04.04 | Potassium | Dry Ash | ICP-AES, AAS | K | % | g/kg
B-K.05.04 | Potassium | Wet Ash | ICP-AES, AAS | K | % | mg/kg
B-K.10.04 | Potassium | MW Digest | ICP-AES, AAS | K | %
B-K.11.04 | Potassium | Perchloric Acid Digest | ICP-AES, AAS | K | ppm | mg/kg
B-K.12.04 | Potassium | Nitric Acid Digest | ICP-AES, AAS | K | ppm | mg/kg
B-K.13.04 | Potassium | Peroxide Digest | ICP-AES, AAS | K | ppm | mg/kg
B-K.15.04 | Potassium | Hydraulic Sap | ICP-AES, AAS | K | ppm |  | %
B-MG.02.04 | Magnesium | Acid Digest | ICP-AES, AAS | Mg | ppm | mg/kg | %
B-MG.04.04 | Magnesium | Dry Ash | ICP-AES, AAS | Mg | % | mg/kg
B-MG.05.04 | Magnesium | Wet Ash | ICP-AES, AAS | Mg | % | mg/kg
B-MG.10.04 | Magnesium | MW Digest | ICP-AES, AAS | Mg | % |  | %
B-MG.11.04 | Magnesium | Perchloric Acid Digest | ICP-AES, AAS | Mg | ppm | mg/kg
B-MG.12.04 | Magnesium | Nitric Acid Digest | ICP-AES, AAS | Mg | ppm | mg/kg
B-MG.13.04 | Magnesium | Peroxide Digest | ICP-AES, AAS | Mg | ppm | mg/kg
B-MG.15.04 | Magnesium | Hydraulic Sap | ICP-AES, AAS | Mg | ppm
B-MN.02.04 | Manganese | Acid Digest | ICP-AES, AAS | Mn | ppm | mg/kg
B-MN.04.04 | Manganese | Dry Ash | ICP-AES, AAS | Mn | ppm | mg/kg | %
B-MN.05.04 | Manganese | Wet Ash | ICP-AES, AAS | Mn | ppm | mg/kg
B-MN.10.04 | Manganese | MW Digest | ICP-AES, AAS | Mn | ppm | mg/kg
B-MN.11.04 | Manganese | Perchloric Acid Digest | ICP-AES, AAS | Mn | ppm | mg/kg
B-MN.12.04 | Manganese | Nitric Acid Digest | ICP-AES, AAS | Mn | ppm | mg/kg | %
B-MN.13.04 | Manganese | Peroxide Digest | ICP-AES, AAS | Mn | ppm | mg/kg
B-MN.15.04 | Manganese | Hydraulic Sap | ICP-AES, AAS | Mn | ppm
B-MO.02.04 | Molybdenum | Acid Digest | ICP-AES, AAS | Mo | ppm | mg/kg
B-MO.05.04 | Molybdenum | Wet Ash | ICP-AES | Mo | ppm | mg/kg
B-MO.05.06 | Molybdenum | Wet Ash | ICP-MS | Mo | ppm | mg/kg
B-MO.10.04 | Molybdenum | MW Digest | ICP-AES, AAS | Mo | ppm | mg/kg
B-MO.11.04 | Molybdenum | Perchloric Acid Digest | ICP-AES, AAS | Mo | ppm | mg/kg | %
B-MO.15.04 | Molybdenum | Hydraulic Sap | ICP-AES, AAS | Mo | ppm |  | %
B-NA.02.04 | Sodium | Acid Digest | ICP-AES, AAS | Na | ppm | mg/kg | %
B-NA.04.04 | Sodium | Dry Ash | ICP-AES, AAS | Na | ppm | mg/kg
B-NA.05.04 | Sodium | Wet Ash | ICP-AES, AAS | Na | ppm | mg/kg
B-NA.10.04 | Sodium | MW Digest | ICP-AES, AAS | Na | %
B-NA.11.04 | Sodium | Perchloric Acid Digest | ICP-AES, AAS | Na | ppm | mg/kg | %
B-NA.12.04 | Sodium | Nitric Acid Digest | ICP-AES, AAS | Na | ppm | mg/kg
B-NA.13.04 | Sodium | Peroxide Digest | ICP-AES, AAS | Na | ppm | mg/kg
B-NA.15.04 | Sodium | Hydraulic Sap | ICP-AES, AAS | Na | ppm
B-NH4.01.08 | Ammonium - N | 2 % Acetic Acid | Phenol | NH4-N | ppm | mg/kg
B-NH4.08 | Ammonium - N | Steam Distillation |  | NH4-N | ppm | mg/kg
B-NH4.09.01 | Ammonium - N | Water | Spectrophotometric | NH4-N | mg/kg | ppm
B-NH4.15.04 | Ammonium - N | Hydraulic Sap | ICP-AES, AAS | NH4-N | ppm
B-NI.10.04 | Nickel | MW Digest | ICP-AES | Ni | ppm | mg/kg
B-NI.10.06 | Nickel | MW Digest | ICP-MS | Ni | ppm | mg/kg | %
B-NI.11.04 | Nickel | Perchloric Acid Digest | ICP-AES, AAS | Ni | ppm | mg/kg
B-NO.09.02 | Nitrate-N | Water | ISE | NO3-N | ppm | mg/kg
B-NO3.01.01 | Nitrate-N | 2 % Acetic Acid | CTA/Cd Rd | NO3-N | ppm | mg/kg
B-NO3.01.02 | Nitrate-N | 2 % Acetic Acid | ISE | NO3-N | ppm | mg/kg | %
B-NO3.01.07 | Nitrate-N | 2 % Acetic Acid | Ion Chromatography | NO3-N | ppm | mg/kg
B-NO3.02.01 | Nitrogen-TKN | Sulfuric Acid | Kjeldahl | TKN |  | % | %
B-NO3.07.10 | Nitrate-N | KCl | Cadmium Reduction | NO3-N | ppm | mg/kg
B-NO3.09.10 | Nitrate-N | Water | Cadmium Reduction | NO3-N |  | %
B-NO3.15.04 | Nitrate-N | Hydraulic Sap | ICP-AES, AAS | NO3-N | ppm |  | %
B-P.10.04 | Phosphorus | MW Digest | ICP-AES, AAS | P | %
B-P.11.04 | Phosphorus | Perchloric Acid Digest | ICP-AES, AAS | P | ppm | mg/kg
B-P.12.04 | Phosphorus | Nitric Acid Digest | ICP-AES, AAS | P | ppm | mg/kg
B-P.13.04 | Phosphorus | Peroxide Digest | ICP-AES, AAS | P | ppm | mg/kg
B-P.15.04 | Phosphorus | Hydraulic Sap | ICP-AES, AAS | P | ppm
B-PB.10.04 | Lead | MW Digest | ICP-AES | Pb | ppm | mg/kg
B-PB.10.06 | Lead | MW Digest | ICP-MS | Pb | ppm | mg/kg
B-PB.11.04 | Lead | Perchloric Acid Digest | ICP-AES, AAS | Pb | ppm | mg/kg
B-PH.15.02 | pH | Hydraulic Sap | ISE | pH | None
B-PO4.01.01 | Phosphate-P | 2 % Acetic Acid | Spectrophotometric | PO4-P | ppm | mg/kg
B-S.02.04 | Sulfur | Acid Digest | ICP-AES, AAS | S | ppm | mg/kg
B-S.05.03 | Sulfur | Wet Ash | Turbidimetric | S |  | %
B-S.10.04 | Sulfur | MW Digest | ICP-AES, AAS | S | %
B-S.11.04 | Sulfur | Perchloric Acid Digest | ICP-AES, AAS | S | ppm | mg/kg
B-S.12.04 | Sulfur | Nitric Acid Digest | ICP-AES, AAS | S | ppm | mg/kg
B-S.13.04 | Sulfur | Peroxide Digest | ICP-AES, AAS | S | ppm | mg/kg
B-S.15.04 | Sulfur | Hydraulic Sap | ICP-AES, AAS | S | ppm
B-SE.05.04 | Selenium | Wet Ash | ICP-AES | Se | ppm | mg/kg
B-SE.05.06 | Selenium | Wet Ash | ICP-MS | Se | ppm | mg/kg
B-SE.11.04 | Selenium | Perchloric Acid Digest | ICP-AES, AAS | Se | ppm | mg/kg
B-SI.15.04 | Silica | Hydraulic Sap | ICP-AES, AAS | Si | ppm
B-SO4.01.03 | Sulfate-S | 2 % Acetic Acid | Turbidimetric | SO4-S | ppm | mg/kg
B-SO4.01.04 | Sulfate-S | 2 % Acetic Acid | ICP-AES, AAS | SO4-S | ppm | mg/kg
B-SR.10.04 | Strontium | MW Digest | ICP-AES | Sr | ppm | mg/kg
B-SR.10.06 | Strontium | MW Digest | ICP-MS | Sr | ppm | mg/kg | ppm
B-TC.03 | Carbon | Combustion | Gravimetric | TC | % | mg/kg
B-TKN.01.01 | Nitrogen-TKN | 2 % Acetic Acid | Kjeldahl | TKN | % | g/kg
B-TN.03.00 | Nitrogen | NIR | NIR | TN | % | g/kg | %
B-TN.03.01 | Nitrogen | Combustion | Dumas | TN | % | g/kg
B-TN.03.12 | Nitrogen, Total | Combustion | Conductivity | TN | % | g/kg
B-TN.15.04 | Nitrogen, Total | Hydraulic Sap | ICP-AES, AAS | TN | ppm | %
B-TN.16.01 | Nitrogen, Total | Sulfuric Acid | Spectrophotometric | TKN | % | mg/kg
B-TP.02.04 | Phosphorus | Acid Digest | ICP-AES, AAS | P | ppm | mg/kg
B-TP.04.04 | Phosphorus | Dry Ash | ICP-AES | P | % | g/kg
B-TP.05.04 | Phosphorus | Wet Ash | ICP-AES | P | % | g/kg
B-TS.03 | Total Sulfur Combustion | Combustion |  | TS | % | g/kg
B-TS.05.04 | Sulfur | Wet Ash | ICP-AES, AAS | S | % | g/kg
B-TSUGAR.15.04 | Sugars, Total | Hydraulic Sap | ICP-AES, AAS | Sugar | %
B-ZN.02.04 | Zinc | Acid Digest | ICP-AES, AAS | Zn | ppm | mg/kg
B-ZN.04.04 | Zinc | Dry Ash | ICP-AES, AAS | Zn | ppm | mg/kg
B-ZN.05.04 | Zinc | Wet Ash | ICP-AES, AAS | Zn | ppm | mg/kg
B-ZN.10.04 | Zinc | MW Digest | ICP-AES, AAS | Zn | ppm | mg/kg
B-ZN.11.04 | Zinc | Perchloric Acid Digest | ICP-AES, AAS | Zn | ppm | mg/kg
B-ZN.12.04 | Zinc | Nitric Acid Digest | ICP-AES, AAS | Zn | ppm | mg/kg
B-ZN.13.04 | Zinc | Peroxide Digest | ICP-AES, AAS | Zn | ppm | mg/kg
B-ZN.15.04 | Zinc | Hydraulic Sap | ICP-AES, AAS | Zn | ppm
B-CL.18.01 | Chloride | AgNO3 | Spectrophotometric | Cl | ppm | mg/kg |  | lb/acre
B-TWB.03 | Biomass, Total Wet |  | Gravimetric | TWB | g | kg | mg
B-TDB.04 | Biomas, Total Dry |  | Gravimetric | TDB | t/acre | lb/acre | kg/ha
B-TC:TN | Total Carbon:Total Nitrogen |  | Calculated | TC:TN | None
B-AL.12.13 | Aluminum | Nitric Acid Digest | Calculated | Al (CC) | lb/acre
B-B.12.13 | Boron | Nitric Acid Digest | Calculated | B (CC) | lb/acre
B-CA.12.13 | Calcium | Nitric Acid Digest | Calculated | Ca (CC) | lb/acre
B-CL.12.13 | Chloride | Nitric Acid Digest | Calculated | Cl (CC) | lb/acre
B-CU.12.13 | Copper | Nitric Acid Digest | Calculated | Cu (CC) | lb/acre
B-FE.12.13 | Iron | Nitric Acid Digest | Calculated | Fe (CC) | lb/acre
B-MG.12.13 | Magnesium | Nitric Acid Digest | Calculated | Mg (CC) | lb/acre
B-MN.12.13 | Manganese | Nitric Acid Digest | Calculated | Mn (CC) | lb/acre
B-MO.12.13 | Molybdenum | Nitric Acid Digest | Calculated | Mo (CC) | lb/acre
B-N.12.13 | Nitrogen | Nitric Acid Digest | Calculated | N (CC) | lb/acre
B-P.12.13 | Phosphorus | Nitric Acid Digest | Calculated | P (CC) | lb/acre
B-K.12.13 | Potassium | Nitric Acid Digest | Calculated | K (CC) | lb/acre
B-S.12.13 | Sulfur | Nitric Acid Digest | Calculated | S (CC) | lb/acre
B-Zn.12.13 | Zinc | Nitric Acid Digest | Calculated | Zn (CC) | lb/acre
B-N.19.15 | Nitrogen | NIR | Chemometrics | N (NIR-CM) | %
B-NO3.19.15 | Nitrate-N | NIR | Chemometrics | NO3 (NIR-CM) | %
B-S.19.15 | Sulfur | NIR | Chemometrics | S (NIR-CM) | % | ppm
B-P.19.15 | Phosphorus | NIR | Chemometrics | P (NIR-CM) | % | ppm
B-K.19.15 | Potassium | NIR | Chemometrics | K (NIR-CM) | %
B-Mg.19.15 | Magnesium | NIR | Chemometrics | Mg (NIR-CM) | % | ppm
B-Ca.19.15 | Calcium | NIR | Chemometrics | Ca (NIR-CM) | % | ppm
B-B.19.15 | Boron | NIR | Chemometrics | B (NIR-CM) | ppm
B-Zn.19.15 | Zinc | NIR | Chemometrics | Zn (NIR-CM) | ppm
B-Mn.19.15 | Manganese | NIR | Chemometrics | Mn (NIR-CM) | ppm
B-Cu.19.15 | Copper | NIR | Chemometrics | Cu (NIR-CM) | ppm